## Sheet1
ALLIED WINDOW Performance Panels™ | [36 empty] | Energy Savings, Payback and ROI Analysis | Step | Field Name | Input A
11111 Canal Road - Cincinnati, OH 45241 - 513-559-1212 - fax 513-559-1883 - www.alliedwindow.com | [50 empty] | Single | 1.13 | [13 empty] | CLEAR
Customer: | [10 empty] | Project: | [10 empty] | Date: | [7 empty] | Unit(s): | [7 empty] | 1 | Glass Type | [11 empty] | Double | 0 | [13 empty] | TINTED | [11 empty] | ALABAMA | BIRMINGHAM,HUNTSVILLE,MOBILE,MONTGOMERY
Step 1 |  |  |  | U-value Calculation for the Existing Window System • U(ex) (U-value = rate of energy loss) | [35 empty] | Single | [10 empty] | Triple | 0 | [9 empty] | USA | [15 empty] | ALASKA | CITYA,CITYB,CITYC
Existing window stats: | [39 empty] | Double | [20 empty] | USA | ALABAMA | ALBERTA |  | IF((D5="Single")+AND(P7="None"),BE8,IF(D5="Single",BF8,IF((D5="Double")+AND(P7<>"None")+AND(P7<>""),BL8,IF(D5="Double",HLOOKUP(H8,TotalDU,2),IF((D5="Triple"+AND(P7="None")+OR(P7=""),HLOOKUP(H8,TotalTU,2),BR8)))))) | SINGLE STRENGTH (2.5mm) |  |  | SEALED | [8 empty] | ARIZONA | CITYD,CITYE
Glass type |  |  | Single | [8 empty] | Country |  |  | USA | [6 empty] | The following can be manually overriden*: | [17 empty] | Triple | [10 empty] | Single |  | Double | [5 empty] | Triple | [6 empty] | DOUBLE STRENGTH (3mm) |  |  | TIGHT
Thickness |  |  | SINGLE STRENGTH (2.5mm) | [8 empty] | State |  |  | Ohio | [6 empty] | %BTU's blocked | [7 empty] | 16.67% | [21 empty] | Storm | 0.1875 | 0.25 | 0.375 | 0.5 | 0.625 | Storm | 0.1875 | 0.25 | 0.375 | 0.5 | 0.625 | Storm
Frame type |  |  | Metal | [8 empty] | City |  |  | Columbus | [6 empty] | %BTU's lost | [7 empty] | 16.67% | [9 empty] | Yes | [10 empty] | 1.13 | 0.565 | 0.63 | 0.585 | 0.54 | 0.52 | 0.505 | 0.396 | 0.45 | 0.415 | 0.37 | 0.345 | 0.335 | 0.339
(Blank if Single Pane) | [11 empty] | Heating Type |  |  |  | Electricity | [5 empty] | BTU's/Unit (heat) | [7 empty] | 3242 | [9 empty] | No
crack condition | [5 empty] | Average | [5 empty] | Total Stories |  |  |  |  | 1 |  |  |  |  | BTU's/Unit (Cold) | [7 empty] | 7500 | [19 empty] | Metal | Single |  | Double | [5 empty] | Triple
Weatherstripped | [5 empty] | No | [5 empty] | Total ft of crack length |  |  |  |  | 5256 |  |  |  |  | Fuel Cost/Unit (heat) | [7 empty] | 0.0955 |  |  |  | /KWH |  |  |  |  | 2 | Thickness | [11 empty] | Storm | 0.1875 | 0.25 | 0.375 | 0.5 | 0.625 | Storm | 0.1875 | 0.25 | 0.375 | 0.5 | 0.625 | Storm
Existing Storm Window? | [5 empty] | None | [5 empty] | total sq. ft. (area) |  |  |  |  | 5822 |  |  |  |  | Fuel Cost/Unit (cold) | [7 empty] | 0.0955 |  |  |  | /KWH | [5 empty] | SINGLE STRENGTH (2.5mm) | [9 empty] | 1/4" (6mm) | 1.04 | 0.52 | 0.625 | 0.59 | 0.545 | 0.525 | 0.505 | 0.364 | 0.46 | 0.42 | 0.38 | 0.355 | 0.345 | 0.312
New storm glazing will be | [5 empty] | Clear | [5 empty] | Quote Price |  |  |  |  | 27422 |  |  |  |  | NOTE: Once overriden, automatic calculations will be lost. | [17 empty] | DOUBLE STRENGTH (3mm) | [9 empty] | 3/16" (5mm) | 1.07 | 0.535 | 0.635 | 0.59 | 0.525 | 0.51 | 0.375 | 0.375 | 0.46 | 0.42 | 0.38 | 0.355 | 0.34 | 0.321
[40 empty] | 5/32" (4mm) | [9 empty] | 5/32" (4mm) | 1.08 | 0.54 | 0.635 | 0.57333 | 0.52333 | 0.51 | 0.37833 | 0.37833 | 0.46 | 0.42167 | 0.38 | 0.355 | 0.34 | 0.324
$ | 23614.1514 | [5 empty] | 1.1613 |  |  |  |  | yrs |  | 86.1139 |  |  |  |  | % | [20 empty] | 3/16" (5mm) | [9 empty] | 7/32" (5.5mm) | 1.09 | 0.545 | 0.635 | 0.55667 | 0.52167 | 0.51 | 0.38167 | 0.38167 | 0.46 | 0.42333 | 0.38 | 0.355 | 0.34 | 0.327
TOTAL ANNUAL | [6 empty] | INVESTMENT | [6 empty] | ANNUAL | [25 empty] | 7/32" (5.5mm) | [9 empty] | DOUBLE STRENGTH (3mm) | 1.1 | 0.55 | 0.635 | 0.54 | 0.52 | 0.51 | 0.385 | 0.385 | 0.46 | 0.425 | 0.38 | 0.355 | 0.34 | 0.33
DOLLARS SAVED | [6 empty] | PAYBACK in YEARS | [6 empty] | ROI* | [25 empty] | 1/4' (6mm) | [9 empty] | SINGLE STRENGTH (2.5mm) | 1.13 | 0.565 | 0.63 | 0.585 | 0.54 | 0.52 | 0.505 | 0.396 | 0.45 | 0.415 | 0.37 | 0.345 | 0.335 | 0.339
[38 empty] | 3 | Frame Type
[40 empty] | Metal | [9 empty] | Wood/Vinyl | Single |  | Double | [5 empty] | Triple
[40 empty] | Wood/Vinyl | [11 empty] | Storm | 0.1875 | 0.25 | 0.375 | 0.5 | 0.625 | Storm | 0.1875 | 0.25 | 0.375 | 0.5 | 0.625 | Storm
[29 empty] | Existing Window System Conduction U-value (CHART 1 - based on assessment above) | = |  |  | Uc(ex) | 1.13 | [15 empty] | 1/4" (6mm) | 0.936 | 0.468 | 0.594 | 0.561 | 0.513 | 0.499 | 0.48 | 0.328 | 0.437 | 0.399 | 0.361 | 0.337 | 0.328 | 0.281 |  | 5/32" (4mm) |  |  | GOOD
|  | Existing Infiltration U-value based on formula below converting air infiltration to a U-value | [35 empty] | 4 | Crack Condition | [10 empty] | 3/16" (5mm) | 0.963 | 0.482 | 0.603 | 0.561 | 0.523 | 0.499 | 0.485 | 0.337 | 0.437 | 0.399 | 0.361 | 0.337 | 0.232 | 0.289 |  | 3/16" (5mm) |  |  | AVERAGE
| 0.03 |  |  |  | ÷ | 2 |  | x | 8.3 |  |  | x | 1 |  |  | x | 5256 |  |  |  | ÷ | 5822 |  |  |  | x | 1.38 |  |  | = |  |  | Ui(ex) | 0.15511 | [5 empty] | Sealed | [9 empty] | 5/32" (4mm) | 0.972 | 0.48633 | 0.603 | 0.56233 | 0.51967 | 0.49767 | 0.485 | 0.34033 | 0.437 | 0.40067 | 0.361 | 0.337 | 0.26233 | 0.28833 |  | 7/32" (5.5mm) |  |  | FAIR
| cfm/ft. |  |  |  | (½ of windows receive wind at a given time) |  |  |  | local wind |  |  |  | multiplier |  |  |  | total crack |  |  |  |  | total ft² |  |  |  |  | ASHRAE | [12 empty] | Tight | [9 empty] | 7/32" (5.5mm) | 0.981 | 0.49067 | 0.603 | 0.56367 | 0.51633 | 0.49633 | 0.485 | 0.34367 | 0.437 | 0.40233 | 0.361 | 0.337 | 0.29267 | 0.28767 |  | 1/4' (6mm) |  |  | POOR | [9 empty] | 2 | 3 | 4 | 5
| (CHART 2) | [7 empty] | (CHART 3) |  |  |  | (CHART 4) |  |  |  | length - ft. |  |  |  |  | all windows |  |  |  |  | conversion | [12 empty] | Good | [9 empty] | DOUBLE STRENGTH (3mm) | 0.99 | 0.495 | 0.603 | 0.565 | 0.513 | 0.495 | 0.485 | 0.347 | 0.437 | 0.404 | 0.361 | 0.337 | 0.323 | 0.287 |  |  |  |  | LOOSE | [8 empty] | ALABAMA | ALASKA | ARIZONA | ARKANSAS | CALIFORNIA
[29 empty] | Existing Window System Total U-value ( Uc + Ui ) | = |  |  | U(ex) | 1.2851 | [5 empty] | Average | [9 empty] | SINGLE STRENGTH (2.5mm) | 1.02 | 0.51 | 0.599 | 0.556 | 0.513 | 0.495 | 0.48 | 0.357 | 0.428 | 0.394 | 0.352 | 0.328 | 0.318 | 0.306 |  |  |  |  | VERY LOOSE | [8 empty] | BIRMINGHAM | ANCHORAGE | JUNEAU | FORT SMITH | BAKERSFIELD
[40 empty] | Fair | [37 empty] | HUNTSVILLE | ANNETTE | FLAGSTAFF | LITTLE ROCK | BLUE CANYON
[40 empty] | Poor | [37 empty] | MOBILE | BARROW | PHOENIX |  | EUREKA
Step 2 |  |  |  | U-value Calculation for the Window System with Allied Window Performance Panels™ • U(new) | [35 empty] | Loose | [26 empty] | 5 |  |  | ARIZONA | MANITOBA | [11 empty] | MONTGOMERY | BARTER ISLAND | TUCSON | FRESNO
|  |  |  | Calculation of the Total U-value Saved with Allied Window Performance Panels™ • U(save) | [35 empty] | Very Loose | [12 empty] | Allied Performance Panel | [13 empty] | NOPE |  |  | ARKANSAS | NEW BRUNSWICK
[29 empty] | Conduction U-value with Allied Window Performance Panels™ (CHART 1) | = |  |  | Uc(new) | 0.495 | [16 empty] | No Storm | Poor | [17 empty] | CALIFORNIA | NEWFOUNDLAND | [12 empty] | BETHEL | WINSLOW | LONG BEACH
| New Infiltration U-value based on formula below converting air infiltration to a U-value | [36 empty] | 5 | Weather-stripping | [27 empty] | METAL |  |  | COLORADO | ONTARIO | [12 empty] | BETTLES | YUMA | LOS ANGELES
| 0.023 |  |  |  | ÷ | 2 |  | x | 8.3 |  |  | x | 1 |  |  | x | 5256 |  |  |  | ÷ | 5822 |  |  |  | x | 1.38 |  |  | = |  |  | Ui(new) | 0.11892 | [5 empty] | Yes | [26 empty] | VINYL |  |  | CONNECTICUT | QUEBEC | [12 empty] | BIG DELTA |  | OAKLAND
| cfm/ft. |  |  |  | (½ of windows receive wind at a given time) |  |  |  | local wind |  |  |  | multiplier |  |  |  | total crack |  |  |  |  | total ft² |  |  |  |  | ASHRAE | [12 empty] | No | [10 empty] | 0.03 | 0.027 | 0.023 | [13 empty] | WOOD |  |  | DELAWARE | SASKATCHEWAN | [12 empty] | COLD BAY |  | RED BLUFF
| (CHART 2) | [7 empty] | (CHART 3) |  |  |  | (CHART 4) |  |  |  | length - ft. |  |  |  |  | all windows |  |  |  |  | conversion | [42 empty] | DISTRICT OF COLUMBIA | [13 empty] | FAIRBANKS |  | SACREMENTO
[29 empty] | New Window System Total U-value ( Uc + Ui ) | = |  |  | U(new) | 0.61392 |  |  |  | 6 | Storm Window | [10 empty] | Weatherstripped Window | [19 empty] | FLORIDA | [13 empty] | GUIKANA
[29 empty] | Total U-value Saved with New Window System Installed ( U(ex) - U(new) ) | = |  |  | U(save) | 0.67119 | [5 empty] | None | [10 empty] | No Storm | Poor | Allied Performance Panel | [17 empty] | GEORGIA | [13 empty] | HOMER
[40 empty] | Poor | [30 empty] | OHIO | [13 empty] | JUNEAU
Step 3 |  |  |  | Annual Heating and Cooling Dollars Saved | [35 empty] | Allied Performance Panel
|  | 0.67119 |  |  | x | 24 |  | x | 5822 |  |  |  | ÷ | 3242 |  |  |  | x | 0.0955 |  |  |  | x | 1.56 |  |  |  | x | 5546 |  |  |  | = | $ | 23901.481
|  | U(save) | [6 empty] | total ft² |  |  |  |  | BTU's/unit |  |  |  |  | fuel cost/unit |  |  |  |  | inflation |  |  |  |  | heating | [5 empty] | HEATING |  |  | 7 | Country | [10 empty] | Average | 0.016 | 0.014 | 0.012
|  | from step 2 | [6 empty] | all windows |  |  |  |  | (CHART 5) | [14 empty] | degree days |  |  |  |  | A | DOLLARS |  |  |  |  | Canada | [9 empty] | Fair | 0.021 | 0.018 | 0.014 | [17 empty] | ALBERTA
[29 empty] | (CHART 6) | [5 empty] | SAVED |  |  |  |  | Mexico | City | Ohio | B | [6 empty] | Good | 0.01 | 0.01 | 0.009 | [17 empty] | BRITISH COLUMBIA
|  | 0.67119 |  |  | x | 24 |  | x | 5822 |  |  |  | ÷ | 7500 |  |  |  | x | 0.0955 |  |  |  | x | 1.56 |  |  |  | x | 925 |  |  |  | = | $ | 1723.2109 |  |  |  |  | USA |  |  |  | ELECTRIC | GAS | OIL | COAL |  |  | Loose | 0.031 | 0.023 | 0.016 | [17 empty] | MANITOBA
|  | U(save) | [6 empty] | total ft² |  |  |  |  | BTU's/unit |  |  |  |  | fuel cost/unit |  |  |  |  | inflation |  |  |  |  | cooling | [5 empty] | COOLING | [6 empty] | OH | 7 | AVERAGE | AVERAGE | AVERAGE | AVERAGE |  |  | Poor | 0.026 | 0.021 | 0.015 | [17 empty] | NEW BRUNSWICK
|  | from step 2 | [6 empty] | all windows |  |  |  |  | (CHART 5) | [14 empty] | degree days |  |  |  |  | B | DOLLARS |  |  | 8 | State |  |  |  |  | COST Cts/kWh | Price/Mcf | Price/Gal | Price/Ton |  |  | Sealed | 0 | 0 | 0 | [17 empty] | NEWFOUNDLAND
[29 empty] | (CHART 7) | [5 empty] | SAVED |  |  |  | A | Alabama | AL | 1 | A | 0.0933 | 18.59 | 1.9887 | 216.675 |  |  | Tight | 0.005 | 0.005 | 0.005 | [15 empty] | HEAT | COOL | ONTARIO
Step 4 |  |  |  | Annual Solar Gain Savings/(Loss) | [34 empty] | A | Alaska | AK | 2 | A | 0.15 | 8.73 | 2.2441 | 135.0804 |  |  | Very Loose | 0.062 | 0.031 | 0.025 | [14 empty] | COAL | 17500000 | 17500000 | QUEBEC
|  | 75600 |  |  |  |  | x | 16.67% |  |  |  | ÷ | 7500 |  |  |  |  | x | 5822 |  |  |  | x | 0.0955 |  |  |  | x | 1.56 |  |  |  | = | $ | 1457.4589 |  |  |  | A | Arizona | AZ | 3 | A | 0.0907 | 17.42 | 1.9887 | 135.0804 | [19 empty] | ELECTRICITY | 3242 | 7500 | SASKATCHEWAN
|  | net BTU's/ft²/yr | [5 empty] | %BTU's blocked |  |  |  |  | cooling BTU's/unit | [5 empty] | total ft² |  |  |  |  | cooling |  |  |  |  | inflation | [5 empty] | SOLAR |  |  |  | A | Arkansas | AR | 4 | A | 0.0904 | 13.08 | 1.9887 | 135.0804 |  |  | No Weatherstripping | [16 empty] | GAS | 65000 | 65000
|  | (CHART 8-Summer) | [5 empty] | (CHART 9) |  |  |  |  | (CHART 5) | [5 empty] | all windows |  |  |  |  | fuel cost/unit | [9 empty] | C | SAVINGS |  |  |  | A | California | CA | 5 | A | 0.1426 | 11.61 | 2.1875 | 148.5884 |  |  |  | No Storm | Poor | Allied Performance Panel | [14 empty] | OIL | 84000 | 84000
|  | 77760 |  |  |  |  | x | 16.67% |  |  |  | ÷ | 3242 |  |  |  |  | x | 5822 |  |  |  | x | 0.0955 |  |  |  | x | 1.56 |  |  |  | = | $ | 3467.9994 |  |  |  | A | Colorado | CO | 6 | A | 0.0928 | 10.65 | 1.9887 | 116.9082
|  | net BTU's/ft²/yr | [5 empty] | %BTU's lost |  |  |  |  | heating BTU's/unit | [5 empty] | total ft² |  |  |  |  | heating |  |  |  |  | inflation | [5 empty] | SOLAR |  |  |  | A | Connecticut | CN | 7 | A | 0.1833 | 16.42 | 2.63 | 135.0804
|  | (CHART 8-Winter) | [5 empty] | (CHART 9) |  |  |  |  | (CHART 5) | [5 empty] | all windows |  |  |  |  | fuel cost/unit | [9 empty] | D | LOSS |  |  |  | A | Delaware | DE | 8 | A | 0.1368 | 16.9 | 2.566 | 135.0804
[39 empty] | A | District of Columbia | DC | 9 | A | 0.1058 | 15.75 | 2.1834 | 135.0804 |  |  | Average | 0.03 | 0.027 | 0.023
Step 5 |  |  |  | Summary of Benefits with Allied Window Performance Panels™ | [34 empty] | A | Florida | FL | 10 | A | 0.1132 | 21.29 | 1.9887 | 171.735 |  |  | Fair | 0.049 | 0.042 | 0.033
[8 empty] | $ | 23901.481 |  |  |  | + | $ | 1723.2109 |  |  |  | + | $ | 1457.4589 |  |  |  | - | $ | 3467.9994 |  |  |  | = | $ | 23614.1514 | [5 empty] | A | Georgia | GA | 11 | A | 0.0861 | 18.44 | 1.9887 | 216.675 |  |  | Good | 0.02 | 0.019 | 0.017
[10 empty] | HEATING | [5 empty] | COOLING | [5 empty] | SOLAR | [5 empty] | SOLAR |  |  |  | TOTAL ANNUAL | [6 empty] | A | Hawaii | HI | 12 | A | 0.266 | 33.78 | 2.287 | 304.8777 |  |  | Loose | 0.086 | 0.064 | 0.043
[8 empty] | A |  | DOLLARS |  |  |  | B |  | DOLLARS |  |  |  | C |  | SAVINGS |  |  |  | D |  | LOSS |  |  |  | DOLLARS SAVED | [6 empty] | A | Idaho | ID | 13 | A | 0.0653 | 11.76 | 2.1002 | 135.0804 |  |  | Poor | 0.067 | 0.054 | 0.039
[10 empty] | SAVED | [5 empty] | SAVED | [22 empty] | A | Illinois | IL | 14 | A | 0.1096 | 10.95 | 2.651 | 131.2248 |  |  | Sealed | 0 | 0 | 0
[17 empty] | $ | 27422 | [5 empty] | ÷ | $ | 23614.1514 |  |  |  |  | = | 1.1613 |  |  |  | yrs |  |  | A | Indiana | IN | 15 | A | 0.0868 | 11.46 | 1.8913 | 144.3216 |  |  | Tight | 0.01 | 0.01 | 0.009
[17 empty] | TOTAL COST OF | [7 empty] | TOTAL ANNUAL | [6 empty] | INVESTMENT | [6 empty] | A | Iowa | IA | 16 | A | 0.0914 | 12.35 | 2.667 | 135.0804 |  |  | Very Loose | 0.171 | 0.086 | 0.068
[17 empty] | NEW WINDOW SYSTEM | [7 empty] | DOLLARS SAVED | [6 empty] | PAYBACK in YEARS | [6 empty] | A | Kansas | KS | 17 | A | 0.0774 | 13.33 | 1.9887 | 135.0804
[39 empty] | A | Kentucky | KY | 18 | A | 0.076 | 11.79 | 1.9096 | 180.723
[17 empty] | 100 | [6 empty] | ÷ | 1.1613 | [5 empty] | = | 86.1139 |  |  |  | % |  |  | A | Louisiana | LA | 19 | A | 0.0889 | 14.26 | 1.9887 | 135.0804 |  |  | Wind Velocity Muliplier for Multi-Story Buildings
[25 empty] | INVESTMENT | [6 empty] | ANNUAL | [6 empty] | A | Maine | ME | 20 | A | 0.1542 | 17.03 | 2.648 | 135.0804 |  |  | 1 | 1
[25 empty] | PAYBACK in YEARS | [6 empty] | ROI | [6 empty] | A | Maryland | MD | 21 | A | 0.1255 | 16.62 | 2.569 | 145.092 |  |  | 2 | 1.05
[39 empty] | A | Massachusetts | MA | 22 | A | 0.1569 | 16.56 | 2.0451 | 135.0804 |  |  | 3 | 1.12
* Energy figures are based on information from eia.doe.gov, the National Weather Service, and other sources, and were current at the time this document was created. Where no information was available, national averages have been used. Prices used are meant to reflect total delivered price including taxes. Users are encouraged to input actual information where available. | [38 empty] | A | Michigan | MI | 23 | A | 0.1004 | 11.12 | 1.9491 | 135.0804 |  |  | 4 | 1.18
[39 empty] | A | Minnesota | MN | 24 | A | 0.0893 | 11.24 | 2.667 | 135.0804 |  |  | 5 | 1.23
[39 empty] | A | Mississippi | MS | 25 | A | 0.0954 | 15.18 | 1.9887 | 216.675 |  |  | 6 | 1.28
[39 empty] | A | Missouri | MO | 26 | A | 0.0726 | 13.77 | 2.58 | 135.0804 |  |  | 7 | 1.32
[39 empty] | A | Montana | MN | 27 | A | 0.0838 | 10.03 | 1.9887 | 60.4764 |  |  | 8 | 1.36
[39 empty] | A | Nebraska | NE | 28 | A | 0.072 | 11.42 | 2.662 | 135.0804 |  |  | 9 | 1.4
[39 empty] | A | Nevada | NV | 29 | A | 0.1261 | 14.46 | 1.9887 | 135.0804 |  |  | 10 | 1.43
[39 empty] | B | New Hampshire | NH | 1 | B | 0.148 | 16.86 | 2.602 | 135.0804 |  |  | 11 | 1.53
[39 empty] | B | New Jersey | NJ | 2 | B | 0.1379 | 14.64 | 2.577 | 135.0804 |  |  | 12 | 1.53
[39 empty] | B | New Mexico | NM | 3 | B | 0.0916 | 12.11 | 1.9887 | 148.8156 |  |  | 13 | 1.53
[39 empty] | B | New York | NY | 4 | B | 0.1703 | 15.4 | 2.618 | 135.0804 |  |  | 14 | 1.53
[39 empty] | B | North Carolina | NC | 5 | B | 0.0955 | 15.81 | 2.542 | 135.0804 |  |  | 15 | 1.53
[39 empty] | B | North Dakota | ND | 6 | B | 0.0735 | 9.35 | 1.9887 | 56.2392 |  |  | 16 | 1.66
[39 empty] | B | Ohio | OH | 7 | B | 0.0955 | 13.48 | 1.9096 | 135.0804 |  |  | 17 | 1.66
[39 empty] | B | Oklahoma | OK | 8 | B | 0.0885 | 12.4 | 1.9887 | 181.8144 |  |  | 18 | 1.66
[39 empty] | B | Oregon | OR | 9 | B | 0.0852 | 14.88 | 2.3076 | 135.0804 |  |  | 19 | 1.66
[39 empty] | B | Pacific | PC | 10 | B | 0.116 | 42.225 | 2.4858 | 331.3888 |  |  | 20 | 1.66
[39 empty] | B | Pennsylvania | PA | 11 | B | 0.111 | 14.74 | 2.572 | 135.0804 |  |  | 21 | 1.77
[39 empty] | B | Puerto Rico | PR | 12 | B | 0.20897 | 37.158 | 2.3864 | 257.5364 |  |  | 22 | 1.77
[39 empty] | B | Rhode Island | RI | 13 | B | 0.1462 | 16.72 | 2.625 | 135.0804 |  |  | 23 | 1.77
[39 empty] | B | South Carolina | SC | 14 | B | 0.0932 | 17.55 | 1.9887 | 135.0804 |  |  | 24 | 1.77
[39 empty] | B | South Dakota | SD | 15 | B | 0.0814 | 10.86 | 1.9887 | 56.2392 |  |  | 25 | 1.77
[39 empty] | B | Tennessee | TN | 16 | B | 0.0831 | 13.94 | 1.9887 | 186.18 |  |  | 26 | 1.87
[39 empty] | B | Texas | TX | 17 | B | 0.1212 | 13.44 | 1.9887 | 94.7592 |  |  | 27 | 1.87
[39 empty] | B | Utah | UT | 18 | B | 0.0771 | 9.58 | 1.9887 | 109.6536 |  |  | 28 | 1.87
[39 empty] | B | Vermont | VT | 19 | B | 0.1435 | 16.01 | 2.68 | 135.0804 |  |  | 29 | 1.87
[39 empty] | B | Virginia | VA | 20 | B | 0.0862 | 15.46 | 2.574 | 194.526 |  |  | 30 | 1.87
[39 empty] | B | Washington | WA | 21 | B | 0.0751 | 14.16 | 2.6012 | 135.0804 |  |  | 31 | 1.95
[39 empty] | B | West Virginia | WV | 22 | B | 0.0696 | 14.65 | 1.9802 | 192.7284 |  |  | 32 | 1.95
[39 empty] | B | Wisconsin | WI | 23 | B | 0.108 | 12.21 | 1.9195 | 135.0804 |  |  | 33 | 1.95
[39 empty] | B | Wyoming | WY | 24 | B | 0.0778 | 11.97 | 1.9887 | 43.335 |  |  | 34 | 1.95
[44 empty] | SOLAR | SOLAR |  |  |  |  | 35 | 1.95
[41 empty] | Average Wind | Cooling | Heating | Net BTU's | Net BTU's | BTU's/ | BTU's / | State Avg. | State Avg. | 36 | 2.03
[38 empty] | 9 | City |  | Velocity | Degree Days | Degree Days | /Year Cooling | /Year Heating | Cool Day | Heat Day | Cool | Heat | 37 | 2.03
[44 empty] | Season | Season |  |  |  |  | 38 | 2.03
[38 empty] | 1 | Alabama | Birmingham | 7.1 | 1881 | 2823 | 102114 | 57768 | 54.2871 | 20.4633 |  |  | 39 | 2.03
[38 empty] | 2 | Alabama | Huntsville | 7.9 | 1671 | 3262 | 103230 | 62790 | 61.7774 | 19.2489 |  |  | 40 | 2.03
[38 empty] | 3 | Alabama | Mobile | 8.8 | 2548 | 1667 | 108600 | 55800 | 42.6217 | 33.4733 |  |  | 41 | 2.1
[38 empty] | 4 | Alabama | Montgomery | 6.6 | 2252 | 2192 | 108600 | 70800 | 48.2238 | 32.2993 |  |  | 42 | 2.1
[38 empty] | 5 | [11 empty] | 43 | 2.1
[38 empty] | 6 | Alaska | Anchorage | 7.1 | 3 | 10470 | 0 | 152400 |  | 14.5559 |  |  | 44 | 2.1
[38 empty] | 7 | Alaska | Annette | 10.1 | 13 | 6917 | 0 | 164000 |  | 23.7097 |  |  | 45 | 2.1
[38 empty] | 8 | Alaska | Barrow | 12 | 0 | 19893 | 0 | 149200 |  | 7.5001 |  |  | 46 | 2.16
[38 empty] | 9 | Alaska | Barter Island | 13.2 | 0 | 19994 | 0 | 140000 |  | 7.0021 |  |  | 47 | 2.16
[38 empty] | 10 | Alaska | Bethel | 12.6 | 1 | 12769 | 0 | 199300 |  | 15.6081 |  |  | 48 | 2.16 | [20 empty] | HEATING | COOLING | COOLING SEASON | HEATING SEASON | Chart 4 | Wind Velocity Multiplier for Multi-Story Buildings
[38 empty] | 11 | Alaska | Bettles | 6.5 | 38 | 15357 | 0 | 147400 |  | 9.5982 |  |  | 49 | 2.16 | [20 empty] | DEGREE DAYS | DEGREE DAYS | SOLAR SAVINGS | SOLAR LOSS
[38 empty] | 12 | Alaska | Big Delta | 8.5 | 27 | 13302 | 0 | 135800 |  | 10.209 |  |  | 50 | 2.16 | [20 empty] | 6224 | 634 | 84000 | 94800 | Stories | Multiplier
[38 empty] | 13 | Alaska | Cold Bay | 16.8 | 0 | 9690 | 0 | 73500 |  | 7.5851 |  |  | 51 | 2.22 | [20 empty] | 4844 | 1188 | 98400 | 69870 | 1 | 1
[38 empty] | 14 | Alaska | Fairbanks | 5.4 | 74 | 13980 | 0 | 141100 |  | 10.093 |  |  | 52 | 2.22 | [20 empty] | 6154 | 613 | 78960 | 70152 | 2 | 1.05
[38 empty] | 15 | Alaska | Gulkana | 6.5 | 0 | 13797 | 0 | 147200 |  | 10.669 |  |  | 53 | 2.22 | [20 empty] | 5702 | 809 | 75600 | 77760 | 3 | 1.12
[38 empty] | 16 | Alaska | Homer | 7.6 | 0 | 9821 | 211700 | 211700 |  | 21.5558 |  |  | 54 | 2.22 | [20 empty] | 5641 | 936 | 84000 | 85440 | 4 | 1.18
[38 empty] | 17 | Alaska | Juneau | 8.2 | 0 | 8574 | 0 | 124300 |  | 14.4973 |  |  | 55 | 2.22 | [20 empty] | 5818 | 818 | 84000 | 94800 | 5 | 1.23
[38 empty] | 18 | Alaska | King Salmon | 10.5 | 0 | 11104 | 0 | 137700 |  | 12.4009 |  |  | 56 | 2.28 | [19 empty] | ANNUAL WIND | 6381 | 685 | 82320 | 87984 | 6 | 1.28
[38 empty] | 19 | Alaska | Kodiak | 11 | 0 | 8941 | 0 | 193200 |  | 21.6083 |  |  | 57 | 2.28 | [19 empty] | VELOCITY | 6426 | 518 | 84000 | 94800 | 7 | 1.32
[38 empty] | 20 | Alaska | Kotzebue | 12.8 | 12 | 15735 | 0 | 144400 |  | 9.177 |  |  | 58 | 2.28 | [17 empty] | OHIO | AKRON | 9.8
[38 empty] | 21 | Alaska | McGrath | 5.2 | 21 | 13887 | 0 | 163800 |  | 11.7952 |  |  | 59 | 2.28 | [18 empty] | CINCINNATI | 7.1
[38 empty] | 22 | Alaska | Nome | 10.4 | 2 | 13818 | 0 | 159100 |  | 11.514 |  |  | 60 | 2.28 | [18 empty] | CLEVELAND | 10.8
[38 empty] | 23 | Alaska | St. Paul Island | 16.9 | 0 | 10959 | 0 | 160200 |  | 14.6181 | [22 empty] | COLUMBUS | 8.7
[38 empty] | 24 | Alaska | Talkeetna | 4.8 | 5 | 11327 | 0 | 136700 |  | 12.0685 | [22 empty] | DAYTON | 10.2
[38 empty] | 25 | Alaska | Unalakleet | 8.5 | 3 | 13750 | 0 | 151100 |  | 10.9891 | [22 empty] | MANSFIELD | 11
[38 empty] | 26 | Alaska | Valdez | 6.1 | 0 | 9733 | 0 | 152400 |  | 15.6581 | [22 empty] | TOLEDO | 9.5
[38 empty] | 27 | Alaska | Yakutat | 7.1 | 0 | 9318 | 0 | 133500 |  | 14.3271 | [22 empty] | YOUNGSTOWN | 10
28
[38 empty] | 29 | Arizona | Flagstaff | 6.4 | 126 | 6999 | 71868 | 96114 | 570.381 | 13.7325
[38 empty] | 30 | Arizona | Phoenix | 6.2 | 4355 | 1040 | 162864 | 46782 | 37.397 | 44.9827
[38 empty] | 31 | Arizona | Tuscon | 8.3 | 3017 | 1578 | 145656 | 50094 | 48.2784 | 31.7452
[38 empty] | 32 | Arizona | Winslow | 8.8 | 1104 | 4692 | 95400 | 84600 | 86.413 | 18.0307
[38 empty] | 33 |  | Yuma | 7.8 | 4540 | 782 | 192024 | 32940 | 42.296 | 42.1228
34
[38 empty] | 35 | Arkansas | Fort Smith | 7.6 | 1921 | 3451 | 111000 | 64980 | 57.7824 | 18.8293
[38 empty] | 36 | Arkansas | Little Rock | 7.8 | 2086 | 3084 | 114330 | 69000 | 54.8082 | 22.3735
[38 empty] | 37 | Arkansas | Little Rock, North | 7.8 | 2196 | 2980 | 114330 | 69000 | 52.0628 | 23.1544
38
[38 empty] | 39 | California | Bakersfield | 6.4 | 2304 | 2104 | 111000 | 69000 | 48.1771 | 32.7947
[38 empty] | 40 | California | Bishop | 6.9 | 1003 | 4314 | 112200 | 68400 | 111.8644 | 15.8554
[38 empty] | 41 | California | Blue Canyon | 6.7 | 423 | 5704 | 66600 | 114600 | 157.4468 | 20.0912
[38 empty] | 42 | California | Eureka | 6.8 | 7 | 4446 | 34440 | 119232 | 4920 | 26.8178
[38 empty] | 43 | California | Fresno | 6.4 | 1991 | 2433 | 148104 | 75924 | 74.3867 | 31.2059
[38 empty] | 44 | California | Long Beach | 6.2 | 1183 | 1212 | 152400 | 27000 | 128.825 | 22.2772
[38 empty] | 45 | California | Los Angeles AP | 7.5 | 682 | 1286 | 152400 | 27000 | 223.4604 | 20.9953
[38 empty] | 46 | California | Los Angeles, C.O. | 5.7 | 1506 | 927 | 152400 | 27000 | 101.1952 | 29.1262 | [28 empty] | 34 | 1.95
[38 empty] | 47 | California | Mount Shasta | 5.1 | 235 | 5991 | 66600 | 112200 | 283.4043 | 18.7281 | [28 empty] | 35 | 1.95
[38 empty] | 48 | California | Oakland | 8.2 | 128 | 2909 | 112200 | 67200 | 876.5625 | 23.1007 | [28 empty] | 36 | 2.03
[38 empty] | 49 | California | Red Bluff | 8.7 | 1904 | 2688 | 151956 | 65401 | 79.8088 | 24.3307 | [28 empty] | 37 | 2.03
[38 empty] | 50 | California | Redding | 6.6 | 1741 | 2961 | 163410.26 | 49271.04 | 93.86 | 16.64 | [28 empty] | 38 | 2.03
[38 empty] | 51 | California | Sacramento | 7.8 | 1248 | 2666 | 136884 | 63840 | 109.6827 | 23.946 | [28 empty] | 39 | 2.03
[38 empty] | 52 | California | San Diego | 7 | 866 | 1063 | 145728 | 14832 | 168.2771 | 13.953 | [28 empty] | 40 | 2.03
[38 empty] | 53 | California | San Francisco AP | 10.6 | 142 | 2862 | 98826 | 64428 | 695.9577 | 22.5115 | [28 empty] | 41 | 2.1
[38 empty] | 54 | California | San Franscisco C.O. | 8.7 | 160 | 2614 | 98826 | 64428 | 617.6625 | 24.6473 | [28 empty] | 42 | 2.1
[38 empty] | 55 | California | Sandberg | 15.3 | 800 | 4427 | 96000 | 83400 | 120 | 18.8389 | [28 empty] | 43 | 2.1
[38 empty] | 56 | California | Santa Barbara | 6 | 482 | 2121 | 45240.52 | 35293.44 | 93.86 | 16.64 | [28 empty] | 44 | 2.1
[38 empty] | 57 | California | Santa Maria | 6.9 | 123 | 2800 | 108000 | 71400 | 878.0488 | 25.5 | [28 empty] | 45 | 2.1
[38 empty] | 58 | California | Stockton | 7.5 | 1456 | 2563 | 112200 | 67200 | 77.0604 | 26.2193 | [28 empty] | 46 | 2.16
[38 empty] | 59 | [37 empty] | 47 | 2.16
[38 empty] | 60 | Colorado | Alamosa | 7.2 | 44 | 8734 | 49800 | 130800 | 1131.8182 | 14.976 | [28 empty] | 48 | 2.16
[38 empty] | 61 | Colorado | Colorado Springs | 10 | 443 | 6369 | 66600 | 108000 | 150.3386 | 16.9571 | [28 empty] | 49 | 2.16
[38 empty] | 62 | Colorado | Denver | 8.6 | 695 | 6128 | 89040 | 126720 | 128.1151 | 20.6789 | [28 empty] | 50 | 2.16
[38 empty] | 63 | Colorado | Grand Junction | 8.2 | 1182 | 5552 | 96600 | 114954 | 81.7259 | 20.705 | [28 empty] | 51 | 2.22
[38 empty] | 64 | Colorado | Pueblo | 8.5 | 936 | 5566 | 98778 | 101106 | 105.5321 | 18.1649 | [28 empty] | 52 | 2.22
[38 empty] | 65 | [37 empty] | 53 | 2.22
[38 empty] | 66 | Connecticut | Bridgeport | 11.4 | 789 | 5467 | 98400 | 81000 | 124.7148 | 14.8162 | [28 empty] | 54 | 2.22
[38 empty] | 67 | Connecticut | Hartford | 8.4 | 759 | 6104 | 77280 | 102960 | 101.8182 | 16.8676 | [28 empty] | 55 | 2.22
[38 empty] | 68 | [37 empty] | 56 | 2.28
[38 empty] | 69 | Delaware | Wilmington | 9 | 1125 | 4887 | 98400 | 81600 | 87.4667 | 16.6974 | [28 empty] | 57 | 2.28
[38 empty] | 70 | [37 empty] | 58 | 2.28
[38 empty] | 71 | District of Columbia | Washington Nat'l AP | 9.4 | 1560 | 3999 | 105462 | 62040 | 67.6038 | 15.5139 | [28 empty] | 59 | 2.28
[38 empty] | 72 | District of Columbia | Washington, Dulles A.P. | 7.3 | 1075 | 4923 | 105462 | 62040 | 98.1042 | 12.6021 | [28 empty] | 60 | 2.28
73
[38 empty] | 74 | Florida | Apalochicola | 7.8 | 2642 | 1419 | 149112 | 48138 | 56.4391 | 33.9239
[38 empty] | 75 | Florida | Daytona Beach | 8.5 | 2961 | 815 | 178800 | 0 | 60.385
[38 empty] | 76 | Florida | Fort Myers | 8 | 3957 | 302 | 178200 | 0 | 45.0341
[38 empty] | 77 | Florida | Gainesville | 6.5 | 2702 | 1104 | 253609.72 | 18370.56 | 93.86 | 16.64
[38 empty] | 78 | Florida | Jacksonville | 7.8 | 2636 | 1353 | 147588 | 46008 | 55.9894 | 34.0044
[38 empty] | 79 | Florida | Key West | 10.9 | 4847 | 64 | 178200 | 0 | 36.765
[38 empty] | 80 | Florida | Lakeland | 6.9 | 3298 | 678 | 174636 | 0 | 52.9521
[38 empty] | 81 | Florida | Miami | 9.2 | 4383 | 155 | 187110 | 0 | 42.6899
[38 empty] | 82 | Florida | Orlando | 8.5 | 3457 | 598 | 178800 | 0 | 51.7211
[38 empty] | 83 | Florida | Pensacola | 8.3 | 2656 | 1498 | 134064 | 40044 | 50.4759 | 26.7316
[38 empty] | 84 | Florida | Tallahassee | 6.2 | 2525 | 1616 | 136800 | 42600 | 54.1782 | 26.3614
[38 empty] | 85 | Florida | Tampa | 8.3 | 3481 | 593 | 178200 | 0 | 51.1922
[38 empty] | 86 | Florida | Vero Beach | 8.3 | 3460 | 455 | 324755.6 | 7571.2 | 93.86 | 16.64
[38 empty] | 87 | Florida | West Palm Beach | 9.6 | 4012 | 242 | 178200 | 0 | 44.4167
88
[38 empty] | 89 | Georgia | Athens | 7.3 | 1790 | 2832 | 105408 | 62640 | 58.8872 | 22.1186
[38 empty] | 90 | Georgia | Atlanta | 9.1 | 1810 | 2827 | 109800 | 69600 | 60.663 | 24.6197
[38 empty] | 91 | Georgia | Augusta | 6.4 | 2016 | 2508 | 109800 | 70200 | 54.4643 | 27.9904
[38 empty] | 92 | Georgia | Columbus | 6.7 | 2297 | 2153 | 108600 | 70800 | 47.2791 | 32.8843
[38 empty] | 93 | Georgia | Macon | 7.4 | 2213 | 2241 | 96624 | 60372 | 43.662 | 26.9398
[38 empty] | 94 | Georgia | Rome | 7.4 | 1615 | 3342 | 109800 | 69600 | 67.9876 | 20.8259
[38 empty] | 95 | Georgia | Savannah | 7.7 | 2471 | 1766 | 105264 | 33948 | 42.5998 | 19.2231
96
[38 empty] | 97 | Hawaii | Hilo | 7.2 | 3228 | 0 | 177100 | 0 | 54.8637
[38 empty] | 98 | Hawaii | Honolulu | 11.3 | 4561 | 0 | 202100 | 0 | 44.3105
[38 empty] | 99 | Hawaii | Kahului | 12.8 | 3936 | 0 | 152500 | 0 | 38.7449
[38 empty] | 100 |  | Lihue | 12.5 | 3920 | 0 | 177900 | 0 | 45.3827
101
[38 empty] | 102 | Idaho | Boise | 8.7 | 769 | 5809 | 97128 | 96672 | 126.3043 | 16.6418
[38 empty] | 103 | Idaho | Lewiston | 9.4 | 792 | 5211 | 86400 | 88800 | 109.0909 | 17.0409
[38 empty] | 104 | Idaho | Pocatello | 10.1 | 387 | 7116 | 101388 | 121440 | 261.9845 | 17.0658
105
[38 empty] | 106 | Illinois | Cairo | 8.5 | 1806 | 3833 | 113322 | 60876 | 62.7475 | 15.8821
[38 empty] | 107 | Illinois | Chicago | 10.3 | 835 | 6493 | 86520 | 91728 | 103.6168 | 14.1272
[38 empty] | 108 | Illinois | Moline | 9.7 | 969 | 6422 | 85650 | 93600 | 88.3901 | 14.5749
[38 empty] | 109 | Illinois | Peoria | 9.8 | 998 | 6095 | 81480 | 89112 | 81.6433 | 14.6205
[38 empty] | 110 | Illinois | Rockford | 9.9 | 768 | 6940 | 84000 | 93600 | 109.375 | 13.487
[38 empty] | 111 | Illinois | Springfield | 10.9 | 1165 | 5596 | 87360 | 94080 | 74.9871 | 16.812
112
[38 empty] | 113 | Indiana | Evansville | 8 | 1422 | 4612 | 80784 | 83640 | 56.8101 | 18.1353
[38 empty] | 114 | Indiana | Fort Wayne | 9.9 | 830 | 6198 | 87360 | 87216 | 105.253 | 14.0716
[38 empty] | 115 | Indiana | Indianapolis | 9.6 | 1042 | 5521 | 84840 | 90240 | 81.4203 | 16.3449
[38 empty] | 116 | Indiana | South Bend | 10.2 | 813 | 6257 | 84000 | 93600 | 103.321 | 14.9592
117
[38 empty] | 118 | Iowa | Burlington | 10.2 | 994 | 6149 | 91560 | 101436 | 92.1127 | 16.4963
[38 empty] | 119 | Iowa | Des Moines | 10.7 | 1052 | 6432 | 89040 | 101088 | 84.6388 | 15.7164
[38 empty] | 120 | Iowa | Dubuque | 10.6 | 656 | 7277 | 85200 | 78600 | 129.878 | 10.8012
[38 empty] | 121 | Iowa | Sioux City | 11 | 914 | 6896 | 88608 | 92748 | 96.9453 | 13.4495
[38 empty] | 122 | Iowa | Waterloo | 10.5 | 758 | 7375 | 85200 | 78600 | 112.4011 | 10.6576
123
[38 empty] | 124 | Kansas | Concordia | 11.9 | 1333 | 5524 | 111192 | 98736 | 83.4149 | 17.874
[38 empty] | 125 | Kansas | Dodge City | 13.9 | 1481 | 5037 | 96000 | 90072 | 64.8211 | 17.8821
[38 empty] | 126 | Kansas | Goodland | 12.5 | 894 | 6013 | 84000 | 96600 | 93.9597 | 16.0652
[38 empty] | 127 | Kansas | Topeka | 9.6 | 1357 | 5225 | 129600 | 82200 | 95.5048 | 15.7321
[38 empty] | 128 | Kansas | Wichita | 12.2 | 1658 | 4765 | 103224 | 65856 | 62.2581 | 13.8208
129
[38 empty] | 130 | Kentucky | Cincinnati (Greater C.A.P.) | 9 | 1053 | 5200 | 98400 | 69870 | 93.4473 | 13.4365
[38 empty] | 131 | Kentucky | Covington | 9.1 | 1080 | 5070 | 98400 | 82200 | 91.1111 | 16.213
[38 empty] | 132 | Kentucky | Jackson | 6.4 | 1059 | 4358 | 99397.74 | 72517.12 | 93.86 | 16.64
[38 empty] | 133 | Kentucky | Lexington | 9.1 | 1154 | 4716 | 96000 | 83400 | 83.1889 | 17.6845
[38 empty] | 134 | Kentucky | Louisville | 8.3 | 1443 | 4652 | 96492 | 67200 | 66.869 | 14.4454
[38 empty] | 135 | Kentucky | Paducah | 7.4 | 1533 | 4192
136
[38 empty] | 137 | Louisiana | Baton Rouge | 7.5 | 2652 | 1665 | 136800 | 42600 | 51.5837 | 25.5856
[38 empty] | 138 | Louisiana | Lake Charles | 8.4 | 2705 | 1542 | 136800 | 42600 | 50.573 | 27.6265
[38 empty] | 139 | Louisiana | New Orleans | 8.2 | 2776 | 1417 | 129960 | 43452 | 46.8156 | 30.6648
[38 empty] | 140 | Louisiana | Shreveport | 8.3 | 2396 | 2262 | 99918 | 54756 | 41.702 | 24.2069
141
[38 empty] | 142 | Maine | Caribou | 10 | 191 | 9560 | 82200 | 121200 | 430.3665 | 12.6778
[38 empty] | 143 | Maine | Portland | 8.7 | 347 | 7325 | 59808 | 117936 | 172.3573 | 16.1005
144
[38 empty] | 145 | Maryland | Baltimore | 8.8 | 1220 | 4634 | 91512 | 80556 | 75.0098 | 17.3837
146
[38 empty] | 147 | Massachusetts | Blue Hill | 15.3 | 558 | 6371 | 72240 | 93600 | 129.4624 | 14.6916
[38 empty] | 148 | Massachusetts | Boston | 12.4 | 777 | 5630 | 82320 | 106704 | 105.9459 | 18.9528
[38 empty] | 149 | Massachusetts | Worchester | 10.1 | 371 | 6831 | 66600 | 111000 | 179.5148 | 16.2495
150
[38 empty] | 151 | Michigan | Alpena | 8.1 | 293 | 8237 | 104400 | 105840 | 356.314 | 12.8493
[38 empty] | 152 | Michigan | Detroit | 10.3 | 727 | 6449 | 85680 | 82368 | 117.8542 | 12.7722
[38 empty] | 153 | Michigan | Flint | 10.2 | 555 | 6951 | 67200 | 110400 | 121.0811 | 15.8826
[38 empty] | 154 | Michigan | Grand Rapids | 9.8 | 613 | 6896 | 77532 | 62880 | 126.4796 | 9.1183
[38 empty] | 155 | Michigan | Houghton Lake | 8.7 | 328 | 8120 | 69000 | 106200 | 210.3659 | 13.0788
[38 empty] | 156 | Michigan | Lansing | 9.9 | 558 | 7098 | 84340 | 66024 | 151.147 | 9.3018
[38 empty] | 157 | Michigan | Marquette | 8.3 | 167 | 9712 | 62790 | 94518 | 375.988 | 9.7321
[38 empty] | 158 | Michigan | Muskegon | 10.6 | 487 | 6943 | 67200 | 110400 | 137.9877 | 15.9009
[38 empty] | 159 | Michigan | Sault Ste. Marie | 9.2 | 145 | 9230 | 76884 | 113832 | 530.2345 | 12.3328
160
[38 empty] | 161 | Minnesota | Duluth | 11 | 189 | 9742 | 51840 | 129684 | 274.2857 | 13.3118
[38 empty] | 162 | Minnesota | International Falls | 8.8 | 233 | 10295 | 54000 | 120000 | 231.7597 | 11.6561
[38 empty] | 163 | Minnesota | Minneapolis - St. Paul | 10.5 | 699 | 7882 | 85800 | 108300 | 122.7468 | 13.7402
[38 empty] | 164 | Minnesota | Rochester | 12.9 | 473 | 8308 | 67200 | 109200 | 142.0719 | 13.144
[38 empty] | 165 | Minnesota | Saint Cloud | 8.3 | 443 | 8812 | 104400 | 107400 | 235.6659 | 12.1879
166
[38 empty] | 167 | Mississippi | Jackson | 7 | 2290 | 2368 | 91224 | 55224 | 39.8358 | 23.3209
[38 empty] | 168 | Mississippi | Meridian | 6.2 | 2173 | 2353 | 108600 | 70800 | 49.977 | 30.0892
[38 empty] | 169 | Mississippi | Tupelo | 6.8 | 1885 | 3070 | 176926.1 | 51084.8 | 93.86 | 16.64
170
[38 empty] | 171 | Missouri | Columbia | 9.8 | 1246 | 5173 | 100368 | 78912 | 80.5522 | 15.2546
[38 empty] | 172 | Missouri | Kansas City | 10.6 | 1325 | 5249 | 104304 | 85488 | 78.72 | 16.2865
[38 empty] | 173 | Missouri | Saint Joseph | 10 | 1334 | 5440 | 98400 | 81600 | 73.7631 | 15
[38 empty] | 174 | Missouri | St. Louis | 9.6 | 1561 | 4757 | 112266 | 61380 | 71.9193 | 12.9031
[38 empty] | 175 | Missouri | Springfield | 10.4 | 1365 | 5602 | 108834 | 64980 | 79.7319 | 11.5994
176
[38 empty] | 177 | Montana | Billings | 11.2 | 583 | 7004 | 109620 | 128880 | 188.0274 | 18.4009
[38 empty] | 178 | Montana | Glasgow | 10.7 | 494 | 8541 | 69000 | 105000 | 139.6761 | 12.2936
[38 empty] | 179 | Montana | Great Falls | 12.5 | 326 | 7675 | 77970 | 128100 | 239.1718 | 16.6906
[38 empty] | 180 | Montana | Havre | 10.2 | 377 | 8247 | 69000 | 103800 | 183.0239 | 12.5864
[38 empty] | 181 | Montana | Helena | 7.7 | 277 | 7975 | 61020 | 145440 | 220.2888 | 18.237
[38 empty] | 182 | Montana | Kalispell | 6.2 | 149 | 8171 | 35400 | 101400 | 237.5839 | 12.4097
[38 empty] | 183 | Montana | Miles City | 10.2 | 752 | 7889 | 86400 | 88800 | 114.8936 | 11.2562
[38 empty] | 184 | Montana | Missoula | 6.2 | 256 | 7622 | 62100 | 116352 | 242.5781 | 15.2653
185
[38 empty] | 186 | Nebraska | Grand Island | 11.8 | 1027 | 6362 | 84000 | 94800 | 81.7916 | 14.901
[38 empty] | 187 | Nebraska | Lincoln | 10.1 | 1154 | 6242 | 89040 | 103332 | 77.1577 | 16.5543
[38 empty] | 188 | Nebraska | Norfolk | 11.2 | 946 | 6767 | 84000 | 93600 | 88.7949 | 13.8318
[38 empty] | 189 | Nebraska | North Platte | 10.1 | 746 | 6783 | 89040 | 109020 | 119.3566 | 16.0725
[38 empty] | 190 | Nebraska | Omaha (North) | 9.1 | 1019 | 6153 | 86520 | 98592 | 84.9068 | 16.0234
[38 empty] | 191 | Nebraska | Omaha Eppley A.P. | 10.5 | 1095 | 6312 | 84000 | 94800 | 76.7123 | 15.019
[38 empty] | 192 | Nebraska | Scottsbluff | 10.5 | 727 | 6625 | 84000 | 93600 | 115.5433 | 14.1283
[38 empty] | 193 | Nebraska | Valentine | 9.8 | 779 | 7265 | 92868 | 101394 | 119.2144 | 13.9565
194
[38 empty] | 195 | Nevada | Elko | 5.9 | 412 | 7181 | 66600 | 114600 | 161.6505 | 15.9588
[38 empty] | 196 | Nevada | Ely | 10.3 | 196 | 7561 | 79254 | 136080 | 404.3571 | 17.9976
[38 empty] | 197 | Nevada | Las Vegas | 9.2 | 3168 | 2276 | 145410 | 97812 | 45.8996 | 42.9754
[38 empty] | 198 | Nevada | Reno | 6.6 | 493 | 5601 | 91242 | 158760 | 185.0751 | 28.3449
[38 empty] | 199 | Nevada | Winnemucca | 8 | 526 | 6271 | 81918 | 127206 | 155.7376 | 20.2848
200
[38 empty] | 201 | New Hampshire | Concord | 6.7 | 442 | 7485 | 60480 | 114816 | 136.8326 | 15.3395
[38 empty] | 202 | New Hampshire | Mt. Washington | 35.1 | 0 | 13785 | 0 | 114660 |  | 8.3177
203
[38 empty] | 204 | New Jersey | Atlantic City A.P. | 9.8 | 935 | 5113 | 88560 | 76446 | 94.7166 | 14.9513
[38 empty] | 205 | New Jersey | Atlantic City C.O. | 9.8 | 951 | 4480 | 88560 | 81000 | 93.123 | 18.0804
[38 empty] | 206 | New Jersey | Newark | 10.2 | 1242 | 4812 | 116574.12 | 80071.68 | 93.86 | 16.64
[38 empty] | 207 | New Jersey | Trenton | 8.9 | 968 | 4952 | 89544 | 83232 | 92.5041 | 16.8078
208
[38 empty] | 209 | New Mexico | Albaquerque | 8.9 | 1290 | 4281 | 126540 | 86940 | 98.093 | 20.3083
[38 empty] | 210 | New Mexico | Clayton | 12.2 | 797 | 5045 | 80400 | 98400 | 100.8783 | 19.5045
[38 empty] | 211 | New Mexico | Roswell | 8.7 | 1814 | 3332 | 118584 | 77220 | 65.3716 | 23.1753
212
[38 empty] | 213 | New York | Albany | 8.9 | 554 | 6861 | 74976 | 95040 | 135.3357 | 13.8522
[38 empty] | 214 | New York | Binghamton | 10.1 | 409 | 7234 | 63270 | 95460 | 154.6944 | 13.196
[38 empty] | 215 | New York | Buffalo | 11.8 | 548 | 6693 | 66528 | 94944 | 121.4015 | 14.1856
[38 empty] | 216 | New York | Islip | 8.9 | 770 | 5357 | 72272.2 | 89140.48 | 93.86 | 16.64
[38 empty] | 217 | New York | Long Island | 12.2 | 861 | 5184 | 98400 | 81000 | 114.2857 | 15.625
[38 empty] | 218 | New York | New York (C. Park) | 9.3 | 1160 | 4744 | 91512 | 82620 | 78.8897 | 17.4157
[38 empty] | 219 | New York | New York (JFK AP) | 11.8 | 975 | 4882 | 91512 | 82620 | 93.8585 | 16.9234
[38 empty] | 220 | New York | New York (La Guardia) | 12.2 | 1142 | 4777 | 91512 | 82620 | 80.1331 | 17.2954
[38 empty] | 221 | New York | Rochester | 9.6 | 577 | 6713 | 84348 | 67596 | 146.1837 | 10.0694
[38 empty] | 222 | New York | Syracuse | 9.4 | 551 | 6785 | 74976 | 61308 | 136.0726 | 9.0358
223
[38 empty] | 224 | North Carolina | Asheville | 7.4 | 851 | 4203 | 93240 | 71070 | 109.5652 | 16.9094
[38 empty] | 225 | North Carolina | Cape Hatteras | 10.9 | 1738 | 2521 | 108768 | 51324 | 62.5823 | 20.3586
[38 empty] | 226 | North Carolina | Charlotte | 7.4 | 1644 | 3208 | 111000 | 71070 | 67.5182 | 22.154
[38 empty] | 227 | North Carolina | Greensboro - Winston Salem | 7.6 | 1332 | 3848 | 104340 | 68400 | 78.3333 | 17.7755
[38 empty] | 228 | North Carolina | Raleigh | 7.6 | 1521 | 3465 | 97680 | 71820 | 64.2209 | 20.7273
[38 empty] | 229 | North Carolina | Wilmington | 8.6 | 2017 | 2429 | 103212 | 70992 | 51.171 | 29.2268
230
[38 empty] | 231 | North Dakota | Bismarck | 10.2 | 471 | 8809 | 75210 | 127440 | 159.6815 | 14.467
[38 empty] | 232 | North Dakota | Fargo | 12.2 | 533 | 9095 | 69690 | 122130 | 130.7505 | 13.4283
[38 empty] | 233 | North Dakota | Grand Forks | 10.3 | 420 | 9505 | 39421.2 | 158163.2 | 93.86 | 16.64
[38 empty] | 234 | North Dakota | Williston | 9.9 | 471 | 8922 | 75210 | 122850 | 159.6815 | 13.7693
235
[38 empty] | 236 | Ohio | Akron | 9.7 | 679 | 6148 | 84000 | 94800 | 123.7113 | 15.4196
[38 empty] | 237 | Ohio | Cincinnati | 8.05 | 1121 | 5022 | 98400 | 69870 | 87.7788 | 13.9128
[38 empty] | 238 | Ohio | Cleveland | 10.5 | 712 | 6097 | 78960 | 70152 | 110.8989 | 11.506
[38 empty] | 239 | Ohio | Columbus | 8.3 | 925 | 5546 | 75600 | 77760 | 81.7297 | 14.0209
[38 empty] | 240 | Ohio | Dayton | 9.9 | 935 | 5678 | 84000 | 85440 | 89.8396 | 15.0476
[38 empty] | 241 | Ohio | Mansfield | 10.3 | 672 | 6258 | 84000 | 94800 | 125 | 15.1486
[38 empty] | 242 | Ohio | Toledo | 9.4 | 715 | 6468 | 82320 | 87984 | 115.1329 | 13.603
[38 empty] | 243 | Ohio | Youngstown | 9.7 | 561 | 6446 | 84000 | 94800 | 149.7326 | 14.7068
244
[38 empty] | 245 | Oklahoma | Oklahoma City | 12.2 | 1907 | 3663 | 115440 | 77280 | 60.5349 | 21.0975
[38 empty] | 246 | Oklahoma | Tulsa | 10.2 | 2049 | 3641 | 109890 | 67032 | 53.631 | 18.4103
247
[38 empty] | 248 | Oregon | Astoria | 8.5 | 22 | 5068 | 104400 | 107400 | 4745.4545 | 21.1918
[38 empty] | 249 | Oregon | Burns | 7 | 218 | 7785 | 67200 | 109200 | 308.2569 | 14.027
[38 empty] | 250 | Oregon | Eugene | 7.6 | 247 | 4781 | 67200 | 109200 | 272.0648 | 22.8404
[38 empty] | 251 | Oregon | Medford | 4.8 | 711 | 4539 | 84000 | 93600 | 118.1435 | 20.6213
[38 empty] | 252 | Oregon | Pendleton | 8.6 | 644 | 5321 | 86400 | 90000 | 134.1615 | 16.9141
[38 empty] | 253 | Oregon | Portland | 7.9 | 398 | 4366 | 81216 | 117000 | 204.0603 | 26.798
[38 empty] | 254 | Oregon | Salem | 7 | 257 | 4784 | 104400 | 108000 | 406.2257 | 22.5753
[38 empty] | 255 | Oregon | Sexton Summit | 11.7 | 248 | 6243 | 86400 | 126000 | 348.3871 | 20.1826
256
[38 empty] | 257 | Pacific | Chuuk, E. Caroline Island | 9 | 6015 | 0 | 564567.9 | 0 | 93.86
[38 empty] | 258 | Pacific | Guam | 9.1 | 5190 | 0 | 487133.4 | 0 | 93.86
[38 empty] | 259 | Pacific | Johnson Island | 15.8 | 5469 | 0 | 513320.34 | 0 | 93.86
[38 empty] | 260 | Pacific | Koror Island | 6.8 | 6155 | 0 | 577708.3 | 0 | 93.86
[38 empty] | 261 | Pacific | Kwajalein Island | 13.3 | 6239 | 0 | 585592.54 | 0 | 93.86
[38 empty] | 262 | Pacific | Majuro, Marshall Island | 10.3 | 5905 | 0 | 554243.3 | 0 | 93.86
[38 empty] | 263 | Pacific | Pago Pago, Amer. Samoa | 10.9 | 5814 | 0 | 545702.04 | 0 | 93.86
[38 empty] | 264 | Pacific | Pohnpei, Caroline Island | 6.3 | 5811 | 0 | 545420.46 | 0 | 93.86
[38 empty] | 265 | Pacific | Wake Island | 13.8 | 5750 | 0 | 539695 | 0 | 93.86
[38 empty] | 266 | Pacific | Yap, W. Caroline Island | 8 | 5747 | 0 | 539413.42 | 0 | 93.86
267
[38 empty] | 268 | Pennsylvania | Allentown | 8.9 | 833 | 5671 | 84000 | 94800 | 100.8403 | 16.7166
[38 empty] | 269 | Pennsylvania | Avoca | 8.2 | 609 | 6258 | 73080 | 80580 | 120 | 12.8763
[38 empty] | 270 | Pennsylvania | Erie | 11 | 573 | 6409 | 66600 | 111000 | 116.2304 | 17.3194
[38 empty] | 271 | Pennsylvania | Harrisburg | 7.5 | 955 | 5201 | 81480 | 94080 | 85.3194 | 18.0888
[38 empty] | 272 | Pennsylvania | Middletown/Harrisburg A.P. | 7.7 | 955 | 5201 | 89636.3 | 86544.64 | 93.86 | 16.64
[38 empty] | 273 | Pennsylvania | Philadelphia | 9.5 | 1235 | 4759 | 89544 | 83232 | 72.5053 | 17.4894
[38 empty] | 274 | Pennsylvania | Pittsburgh | 9 | 726 | 5829 | 63840 | 61440 | 87.9339 | 10.5404
[38 empty] | 275 | Pennsylvania | Williamsport | 7.6 | 709 | 6035 | 84000 | 94800 | 118.4767 | 15.7084
276
[38 empty] | 277 | Puerto Rico | San Juan | 8.4 | 5426 | 0 | 509284.36 | 0 | 93.86
278
[38 empty] | 279 | Rhode Island | Block Island | 10.6 | 466 | 5972 | 66600 | 114600 | 142.9185 | 19.1896
[38 empty] | 280 | Rhode Island | Providence | 10.4 | 714 | 5754 | 73080 | 104832 | 102.3529 | 18.219
281
[38 empty] | 282 | South Carolina | Charleston AP | 8.6 | 2313 | 1973 | 108240 | 50160 | 46.7964 | 25.4232
[38 empty] | 283 | South Carolina | Charleston C.O. | 7 | 2486 | 1755 | 108240 | 50160 | 43.5398 | 28.5812
[38 empty] | 284 | South Carolina | Columbia | 6.8 | 2063 | 2595 | 106506 | 71688 | 51.6268 | 27.6254
[38 empty] | 285 | South Carolina | Greenville-Spartansburg AP | 7 | 1526 | 3272 | 96570 | 69000 | 63.2831 | 21.088
286
[38 empty] | 287 | South Dakota | Aberdeen | 11 | 626 | 8354 | 104400 | 108000 | 166.7732 | 12.9279
[38 empty] | 288 | South Dakota | Huron | 11.5 | 741 | 7828 | 85200 | 101232 | 114.9798 | 12.932
[38 empty] | 289 | South Dakota | Rapid City | 11.2 | 598 | 7211 | 66528 | 124488 | 111.2508 | 17.2636
[38 empty] | 290 | South Dakota | Sioux Falls | 11 | 757 | 7746 | 85200 | 78600 | 112.5495 | 10.1472
291
[38 empty] | 292 | Tennessee | Bristol-Johnson City-Kingsport | 5.4 | 995 | 4318 | 111000 | 68400 | 111.5578 | 15.8407
[38 empty] | 293 | Tennessee | Chattanooga | 6 | 1608 | 3427 | 101010 | 55890 | 62.8172 | 16.3087
[38 empty] | 294 | Tennessee | Knoxville | 6.9 | 1450 | 3685 | 99990 | 54720 | 68.9586 | 14.8494
[38 empty] | 295 | Tennessee | Memphis | 8.8 | 2190 | 3033 | 115440 | 64170 | 52.7123 | 21.1573
[38 empty] | 296 | Tennessee | Nashville | 8 | 1656 | 3658 | 104340 | 46740 | 63.0072 | 12.7775
[38 empty] | 297 | Tennessee | Oak Ridge | 4.1 | 1301 | 3993 | 111000 | 68400 | 85.319 | 17.13
298
[38 empty] | 299 | Texas | Abilene | 11.9 | 2386 | 2659 | 108600 | 70092 | 45.5155 | 26.3603
[38 empty] | 300 | Texas | Amarillo | 13.5 | 1344 | 4325 | 120990 | 83490 | 90.0223 | 19.304
[38 empty] | 301 | Texas | Austin/Bergstrom | 6.9 | 2557 | 1889 | 140904 | 40896 | 55.1052 | 21.6496
[38 empty] | 302 | Texas | Austin/City | 8.9 | 2974 | 1648 | 140904 | 40896 | 47.3786 | 24.8155
[38 empty] | 303 | Texas | Brownsville | 11.3 | 3924 | 622 | 167508 | 70448 | 42.6881 | 113.2605
[38 empty] | 304 | Texas | Corpus Christi | 12 | 3498 | 947 | 166464 | 15000 | 47.5883 | 15.8395
[38 empty] | 305 | Texas | Dallas-Fort Worth | 10.7 | 2571 | 2370 | 109800 | 70200 | 42.7071 | 29.6203
[38 empty] | 306 | Texas | Dallas-Love Field | 9.6 | 2878 | 2219 | 109800 | 70200 | 38.1515 | 31.6359
[38 empty] | 307 | Texas | Del Rio | 9.7 | 3226 | 1417 | 136800 | 42600 | 42.4055 | 30.0635
[38 empty] | 308 | Texas | El Paso | 8.8 | 2165 | 2604 | 123804 | 85668 | 57.1843 | 32.8986
[38 empty] | 309 | Texas | Galveston | 11 | 3280 | 1008 | 152106 | 28224 | 46.3738 | 28
[38 empty] | 310 | Texas | Houston | 7.6 | 2893 | 1525 | 129960 | 41748 | 44.9222 | 27.3757
[38 empty] | 311 | Texas | Lubbock | 12.4 | 1777 | 3422 | 124074 | 82128 | 69.8222 | 24
[38 empty] | 312 | Texas | Midland-Odessa | 11.1 | 2139 | 2716 | 108600 | 70800 | 50.7714 | 26.0677
[38 empty] | 313 | Texas | Porth Arthur | 9.6 | 2823 | 1447 | 134064 | 37914 | 47.4899 | 26.2018
[38 empty] | 314 | Texas | San Angelo | 10.3 | 2390 | 2384 | 108600 | 70800 | 45.4393 | 29.698
[38 empty] | 315 | Texas | San Antonio | 9.1 | 3038 | 1572 | 132696 | 42600 | 43.6787 | 27.0992
[38 empty] | 316 | Texas | Victoria | 9.9 | 3203 | 1245 | 164400 | 15000 | 51.3269 | 12.0482
[38 empty] | 317 | Texas | Waco | 11.1 | 2840 | 2164 | 122400 | 41400 | 43.0986 | 19.1312
[38 empty] | 318 | Texas | Wichita Falls | 11.6 | 2396 | 3024 | 109800 | 69600 | 45.8264 | 23.0159
319
[38 empty] | 320 | Utah | Milford | 8.8 | 715 | 6116 | 88944 | 105288 | 124.3972 | 17.2152
[38 empty] | 321 | Utah | Salt Lake City | 8.8 | 1089 | 5607 | 99960 | 92904 | 91.7906 | 16.5693
322
[38 empty] | 323 | Vermont | Burlington | 9 | 489 | 7665 | 99180 | 105840 | 202.8221 | 13.8082
324
[38 empty] | 325 | Virginia | Lynchburg | 7.1 | 1131 | 4279 | 99858 | 67032 | 88.2918 | 15.6653
[38 empty] | 326 | Virginia | Norfolk | 10.5 | 1630 | 3342 | 103224 | 71820 | 63.3276 | 21.4901
[38 empty] | 327 | Virginia | Richmond | 7.7 | 1466 | 3878 | 103224 | 67032 | 70.412 | 17.2852
[38 empty] | 328 | Virginia | Roanoke | 7.9 | 1134 | 4288 | 112200 | 69600 | 98.9418 | 16.2313
329
[38 empty] | 330 | Washington | Olympia | 6.6 | 97 | 5523 | 69000 | 106200 | 711.3402 | 19.2287
[38 empty] | 331 | Washington | Quillayute | 5.9 | 23 | 5790 | 31248 | 79950 | 1358.6087 | 13.8083
[38 empty] | 332 | Washington | Seattle C.O. | 8.8 | 192 | 4615 | 70956 | 65268 | 369.5625 | 14.1426
[38 empty] | 333 | Washington | Seattle Sea-Tac A.P. | 8.8 | 173 | 4797 | 70956 | 65268 | 410.1503 | 13.606
[38 empty] | 334 | Washington | Spokane | 8.9 | 394 | 6820 | 78660 | 97650 | 199.6447 | 14.3182
[38 empty] | 335 | Washington | Stampede Pass | 7.1 | 16 | 9400 | 0 | 174000 |  | 18.5106
[38 empty] | 336 | Washington | Walla Walla | 5.3 | 957 | 4882 | 95040 | 77256 | 99.3103 | 15.8247
[38 empty] | 337 | Washington | Yakima | 7.1 | 465 | 6012 | 86400 | 88800 | 185.8065 | 14.7705
338
[38 empty] | 339 | West Virginia | Beckley | 8.5 | 529 | 5427 | 81600 | 98400 | 154.2533 | 18.1316
[38 empty] | 340 | West Virginia | Charleston | 5.8 | 1064 | 4589 | 112200 | 67200 | 105.4511 | 14.6437
[38 empty] | 341 | West Virginia | Elkins | 5.8 | 416 | 6046 | 84000 | 96600 | 201.9231 | 15.9775
[38 empty] | 342 | West Virginia | Huntington | 6.5 | 1132 | 4571 | 81600 | 98400 | 72.0848 | 21.527
[38 empty] | 343 | West Virginia | Parkersburg | 6.3 | 1045 | 4817 | 75600 | 71484 | 72.3445 | 14.8399
344
[38 empty] | 345 | Wisconsin | Green Bay | 9.9 | 463 | 7976 | 83808 | 90000 | 181.0108 | 11.2839
[38 empty] | 346 | Wisconsin | La Crosse | 8.9 | 775 | 7395 | 85200 | 91200 | 109.9355 | 12.3327
[38 empty] | 347 | Wisconsin | Madison | 9.6 | 582 | 7499 | 66528 | 112608 | 114.3093 | 15.0164
[38 empty] | 348 | Wisconsin | Milwaukee | 11.5 | 616 | 7096 | 67200 | 110400 | 109.0909 | 15.5581
349
[38 empty] | 350 | Wyoming | Casper | 12.7 | 435 | 7534 | 67200 | 110400 | 154.4828 | 14.6536
[38 empty] | 351 | Wyoming | Cheyenne | 12.9 | 280 | 7289 | 40590 | 136374 | 144.9643 | 18.7096
[38 empty] | 352 | Wyoming | Lander | 6.8 | 445 | 7794 | 75264 | 151248 | 169.1326 | 19.4057
[38 empty] | 353 | Wyoming | Sheridan | 8 | 407 | 7636 | 119016 | 133920 | 292.4226 | 17.538
[47 empty] | 166.8187 | 18.5208
[38 empty] | BTU's per Unit Fuel/Power | [8 empty] | 93.86 | 16.64
[38 empty] | Heating |  | BTU's | Cooling
[38 empty] | Coal |  | 17500000
[38 empty] | Electricity |  | 3242 | Electricity | 7500
[38 empty] | Gas |  | 65000
[38 empty] | Oil |  | 84000
BTU's (Solar) Saved/Lost
[38 empty] | Clear | 0.1667
[38 empty] | Low E | 0.628
[38 empty] | Low E Tinted | 0.8357
[38 empty] | Tinted | 0.472
Energy Dollars
Saved
Investment
Payback
Return On
Investment

## Electric Costs
18.68 | AK | Alaska Power Co | 0.1868 | 0.13678
8.14 | AK | Anchorage Municipal Light and Power | 0.0814
24.52 | AK | Bethel Utilities Corp | 0.2452
8.71 | AK | Chugach Electric Assn Inc | 0.0871
9.4 | AK | Golden Valley Elec Assn Inc | 0.094
9.74 | AK | Homer Electric Assn Inc | 0.0974
8.72 | AK | Ketchikan Public Utilities | 0.0872
15.1 | AK | Kodiak Electric Assn Inc | 0.151
22.9 | AK | Kotzebue Electric Assn Inc | 0.229
8.36 | AK | Matanuska Electric Assn Inc | 0.0836
16.19 | AK | TDX North Slope Generating Co | 0.1619
7.75 | AL | Joe Wheeler Elec Member Corp | 0.0775
7.5 | AR | First Electric Coop Corp | 0.075
7.57 | AZ | Arizona Public Service Co | 0.0757 | 0.09554
10.24 | AZ | Morenci Water and Electric Co | 0.1024
9.5 | AZ | Trico Electric Cooperative Inc | 0.095
10.52 | AZ | Tuscon Electric Power Co | 0.1052
9.94 | AZ | UNS Electric, Inc | 0.0994
9.77 | CA | Impirial Irrigation District | 0.0977 | 0.10913
9.63 | CA | Los Angeles, city of | 0.0963
8.56 | CA | Modesto Irrigation District | 0.0856
9.41 | CA | Pacific Gas & Electric Co | 0.0941
8.13 | CA | PacificCorp | 0.0813
10.43 | CA | Sacramento Municipal Util Dist | 0.1043
10.32 | CA | San Diego Gas & Electric Co | 0.1032
10.19 | CA | Sierra Pacific Power Co | 0.1019
13.2 | CA | Southern California Edison Co | 0.132
20.84 | CA | Southern California Water Co | 0.2084
9.56 | CA | Turlock Irrigation District | 0.0956
7.36 | CO | Intermountain Rural Elec Assn | 0.0736 | 0.0824
8.07 | CO | Poudre Valley R E A, Inc | 0.0807
9.29 | CO | San Luis Valley R E C, Inc | 0.0929
10.33 | CT | Connecticut Light & Power Co | 0.1033 | 0.0969
8.22 | CT | Groton Dept of Utilities | 0.0822
10.52 | CT | United Illuminating Co | 0.1052
8.88 | DC | Potomac Electric Power Co | 0.0888
7.42 | DE | Conectiv | 0.0742 | 0.090325
7.69 | DE | Deleware Electric Coop | 0.0769
9.48 | DE | Dover, City of | 0.0948
11.54 | DE | Newark, City of | 0.1154
7.64 | FL | Florida Power & Light Co | 0.0764 | 0.0774
7.84 | FL | Tampa Electric Co | 0.0784
7.84 | GA | Cobb Electric Membership Corp | 0.0784 | 0.07735
7.63 | GA | Jackson Electric Member Corp | 0.0763
20.07 | HI | Hawaii Electric Light Co. Inc | 0.2007 | 0.18998
12.76 | HI | Hawaiian Electric Co Inc | 0.1276
24.21 | HI | Kauai Island Utility Cooperative | 0.2421
18.95 | HI | Maui Electric Co Ltd | 0.1895
7.4 | IA | Interstate Power and Light co | 0.074
7.64 | ID | Idaho Falls, City of | 0.0764
7.37 | IL | Central Illinois Light co | 0.0737 | 0.080743
7.25 | IL | Central Illinois Pub Serv Co | 0.0725
8.06 | IL | Commonwealth Edison Co | 0.0806
8.34 | IL | Illinois Power Co | 0.0834
7.46 | IL | Interstate Power and Light co | 0.0746
8.01 | IL | MidAmerican Energy Co | 0.0801
10.03 | IL | Mt Carmel Public Utility Co | 0.1003
8.33 | IN | Northern Indiana Pub Serv Co | 0.0833
9.06 | KS | Aquila Inc | 0.0906 | 0.0843
8.02 | KS | Empire District Electric Co | 0.0802
8.21 | KS | Midwest Energy Inc | 0.0821
7.57 | KY | Pennyrile Rural Electric Coop | 0.0757
7.81 | LA | Cleco Power LLC | 0.0781 | 0.08205
8.51 | LA | Energy Louisiana Inc | 0.0851
8.23 | LA | Energy New Orleans Inc | 0.0823
8.27 | LA | Entergy Gulf States Inc | 0.0827
15.4 | MA | Boston Edison Co | 0.154 | 0.12369
10.84 | MA | Cambridge Electric Light Co | 0.1084
14.18 | MA | Commonwealth Electric Co | 0.1418
13.36 | MA | Fitchburg Gas & Elec Light Co | 0.1336
8.98 | MA | Holyoke, City of | 0.0898
11.48 | MA | Massechusetts Electric Co | 0.1148
14.77 | MA | Nantucket Electric Co | 0.1477
9.94 | MA | Western Massachusetts Elec Co | 0.0994
9.28 | MD | Baltimore Gas & Electric Co | 0.0928 | 0.085067
8.28 | MD | Conectiv | 0.0828
7.96 | MD | Potomac Electric Power Co | 0.0796
7.81 | MI | Alpena Power Co | 0.0781 | 0.08394
7.35 | MI | Consumers Energy Co | 0.0735
8.04 | MI | Detroit Edison Co | 0.0804
9.51 | MI | Upper Peninsula Power Co | 0.0951
9.26 | MI | Wisconsin Electric Power Co | 0.0926
8.73 | MN | Interstate Power and Light Co | 0.0873 | 0.08165
7.6 | MN | Rochester Public Utilities | 0.076
7.36 | MO | Independence, City of | 0.0736
8.17 | MS | 4-County Electric Power Assn | 0.0817 | 0.077333
7.5 | MS | Coast Electric Power Assn | 0.075
7.53 | MS | Entergy Mississippi Inc | 0.0753
7.25 | MT | Flathead Electric Coop Inc | 0.0725 | 0.0733
7.41 | MT | NorthWestern Energy LLC | 0.0741
7.69 | NC | Brunswick Electric Member Corp | 0.0769 | 0.0798
8.27 | NC | Rutherford Elec Member Corp | 0.0827
7.59 | ND | Dakota Valley Elec Coop Inc | 0.0759 | 0.0778
8.17 | ND | McKenzie Electric Coop Inc | 0.0817
8.04 | ND | Mountrail-Williams Elec Coop | 0.0804
7.32 | ND | North Central Elec Coop, Inc | 0.0732
8.21 | NE | Nebraska Public Power District | 0.0821 | 0.0856
8.81 | NE | Norris Public Power District | 0.0881
8.66 | NE | Southern Public Power District | 0.0866
11.78 | NH | Connecticut Valley Elec Co | 0.1178 | 0.11192
9.4 | NH | Granite State Electric Co | 0.094
13.6 | NH | New Hampshire Elec Coop Inc | 0.136
10.31 | NH | Public Service Co of NH | 0.1031
10.87 | NH | Unitil Energy Systems | 0.1087
11.54 | NJ | Atlantic City Electric Co | 0.1154 | 0.11052
11.57 | NJ | Jersey Central Power & Lt Co | 0.1157
10.43 | NJ | Public Service Elec & Gas Co | 0.1043
10.67 | NJ | Rockland Electric Co | 0.1067
7.82 | NM | Central Valley Elec Coop, Inc | 0.0782 | 0.0905
8.85 | NM | El Paso Electric Co | 0.0885
9.17 | NM | Jemez Mountains Elec Coop, Inc | 0.0917
7.31 | NM | Public Service Co of NM | 0.0731
7.74 | NM | Roosevelt County Elec Coop Inc | 0.0774
13.41 | NM | Texas-New Mexico Power Co | 0.1341
8.54 | NV | Mt Wheeler Power, Inc | 0.0854 | 0.085275
8.79 | NV | Nevada Power Co | 0.0879
9.35 | NV | Sierra Pacific Power Co | 0.0935
7.43 | NV | Valley Electric Assn, Inc | 0.0743
9.68 | NY | Central Hudson Gas & Elec Corp | 0.0968 | 0.1192
17.66 | NY | Consolidated Edison Co-NY Inc | 0.1766
8.73 | NY | Energetix | 0.0873
15.13 | NY | Long Island Power Authority | 0.1513
11.78 | NY | Niagra Mohawk Power Corp | 0.1178
10.86 | NY | Orange & Rockland Utils Inc | 0.1086
9.6 | NY | Rochester Gas & Electric Corp | 0.096
11.42 | OH | Cleveland Electric Illum Co | 0.1142 | 0.11147
11.15 | OH | Ohio Edison Co | 0.1115
10.87 | OH | The Toledo Edison Co | 0.1087
7.7 | OK | Empire District Electric Co | 0.077 | 0.08085
8.28 | OK | Oklahoma Electric Coop Inc | 0.0828
7.44 | OK | Oklahoma Gas & Electric Co | 0.0744
8.92 | OK | Verdigris Valley Elec Coop Inc | 0.0892
8.11 | PA | Citizens Electric Co | 0.0811 | 0.087637
8.15 | PA | Metropolitan Edison Co | 0.0815
12.25 | PA | PECO Energy Co | 0.1225
7.63 | PA | Pennsylvania Electric Co | 0.0763
9.54 | PA | Pike County Light & Power Co | 0.0954
7.77 | PA | PPL Electric Utilities Corp | 0.0777
7.99 | PA | UGI Utilities, Inc | 0.0799
8.67 | PA | Wellsborough Electric Co | 0.0867
29.64 | RI | Block Island Power Company | 0.2964 | 0.20115
10.59 | RI | The Narragansett Electric Co | 0.1059
8.49 | SC | Lockhart Power Co | 0.0849 | 0.0803
7.57 | SC | Palmetto Electric Coop Inc | 0.0757
7.47 | SD | Black Hills Power Inc | 0.0747 | 0.08074
7.8 | SD | MDU Resources Group Inc | 0.078
9.37 | SD | MidAmerican Energy Co | 0.0937
8.25 | SD | Sioux Valley Energy | 0.0825
7.48 | SD | West River Electric Assn Inc | 0.0748
7.4 | TN | Gibson Electric Members Corp | 0.074 | 0.073867
7.51 | TN | Southwest Tennessee E M C | 0.0751
7.25 | TN | Upper Cumberland E M C | 0.0725
10.24 | TX | El Paso Electric Co | 0.1024 | 0.08735
7.23 | TX | Energy Gulf States Inc. | 0.0723
9.9336 | USA | National Average | 0.0988
11.05 | UT | City of Springfield | 0.1105 | 0.09475
7.9 | UT | City of St George | 0.079
7.33 | VA | Conectiv | 0.0733 | 0.08865
10.4 | VA | Rappahannock Electric Corp | 0.104
12.16 | VT | Central Vermont Pub Serv Corp | 0.1216 | 0.10727
10.44 | VT | Citizens Communications Co | 0.1044
9.89 | VT | City of Burlington - Electric | 0.0989
10.42 | VT | Green Mountain Power Corp | 0.1042
9.56 | WI | Dahlberg Light & Power Co | 0.0956 | 0.08674
7.6 | WI | Masdison Gas & Electric Co | 0.076
10.19 | WI | Northwestern Wisconsin Elec Co | 0.1019
7.5 | WI | Winsonsin Electric Power Co | 0.075
8.52 | WI | Wisconsin Power & Light Co | 0.0852
7.48 | WY | Black Hills Power Inc | 0.0748 | 0.089533
7.82 | WY | Cheyenne Light Fuel & Power Co | 0.0782
11.56 | WY | NorthWestern Energy LLC | 0.1156